ESRF Highlights
2. Nearly all beamlines running 2.1
      1. Five end stations, including the new ID30B MAD beamline
      2. Last two end stations to move in December.
New Hardware Objects
      1. Abstract MCA, AbstractXRFSpectrum
      2. RontecMCA, ESRFXRFSpectrum, ID30BXRFSpectrum
      3. MD2S full implementation
Workflows
      1. The new Beamline Expert System used on all the beamlines.
      2. Parameters taken from ISPyB diffraction plan ((Mxpress workflow).
ID23-2 beamline upgrade
      1. New diffractometer – SUNA or Vertical MD (from bottom).
7th MxCUBE Workshop, 30/11/2015, Barcelona Antonia BETEVA
Page

---
ESRF HighlightS: md2s
    1. New or adapted Hardware Objects – Exporter only
    - Microdiff
    - MD2Motor (based on AbstractMotor)
    - Actuators, Beamstop, Capillary (based on MicrodiffInOut)
    - SC synchronisation
    - Procedures – Centrebeam, Quick Realign…(based on khoros)

---
ESRF Highlights: New beamline opened – Plate gripper
      1. Adaptation of the EMBL Hamburg implementation

---
ESRF Highlights: workflows
Apertures tailor beam to 50 – 7 µm
ESRF Robodiff sample changer and high capacity dewar (240 samples)
PILATUS3 2M detector – data collection in ~30 seconds
Unique fully automatic beamline with no user presence - Workflows to fully automate sample characterisation and data collection
Flexible on-line scheduling
High intensity (3 x 1012 ph/s), low divergent beam of 100 µm x 50 µm at Selenium edge (12.8 keV)
Optical centring and mapping area
Diffraction image analysis defines optimal volume
Results available via ISPyB database
14,110 samples processed since October 2014
480 to 150 samples processed in 24 h depending on level of characterisation required

---
ESRF Highlights
2. New logo