Progress
towards driving beamlines as a third party
Peter Keller
Global Phasing Ltd.

---
Summary
- Scientific and technical recap
- New initial target and priorities at DLS
- Beamline characterisation
- Future work

---
Collection and processing done right
Virulence transcription factor B (VirB). Protein/DNA complex
Data collected on 25 Oct 2014 at PXIII (SLS)

---
Collection and processing done right
SAD, MAD and radiation damage

---
Collection and processing done right:
MAD benefits from multiplicity

---
Collection and processing done right
- The data collection/processing protocol was crucial:
  - a non-obvious interleaved data collection was needed
  - correct data processing was also essential
- How can these types of experiments be done at more institutes?
  - Automate
  - Transfer

---
Driving a beamline as a third party
Workflow
GUI
Image Collection
Strategy Calculation
Tracking and data management
Data Processing
Self-contained: no site-specific components or resources

---
Workflow with real beamline
simcal_predict
GDA
User input
Collect images
stratcal
Generate predictions
Start workflow
Collect reference images
Calculate geometric strategy
Apply interleaving
Persistence layer
Visualisation
UML model →
XSD →
Validating XML API
Data processing
Main data collection
GDA

---
Workflow with emulated beamline
simcal_predict
User input
simcal
stratcal
Generate predictions
Start workflow
Collect reference images
Calculate geometric strategy
Apply interleaving
Persistence layer
Visualisation
UML model →
XSD →
Validating XML API
Data processing
Main data collection
simcal

---
Driving a beamline as a third party
API
Workflow
GUI
Image Collection
Strategy Calculation
Tracking and data management
Data Processing

---
GPhL Abstract Beamline Interface
- Design is beamline/BCS independent
- Under development: expect changes
- Collaboration/discussion welcome!
- Search for “abstract beamline” on https://github.com/

---
GPhL Abstract Beamline Interface
- Defines the structure of the data that are handled by the API
  - Room for installation-specific parameters, e.g. goniostat axis names
- Communication protocol is not defined
- Detailed behaviour is not defined
  - Depends on implementation and communication protocol
- Caters for:
  - Original target: a single, centred sample
  - Translational calibration operations

---
Digression on interleaving
API
Workflow
GUI
Image Collection
Strategy Calculation
Tracking and data management
Data Processing

---
Image collection scheme 1
1 scan ≡ 1 wedge

---
GPhL Abstract Beamline Interface
- Caters for:
  - Geometric strategy
  - Data collection: derived from geometric strategy by adding:
    - exposure time
    - image width
    - Interleaving
- Geometric strategy needed in ABI to support:
  - centring at multiple orientations
  - presentation of strategy to user in a meaningful way

---
Framework for transferable workflows
Start
Read files
Simulate images
Beamline
service
direct:/path/to/config?sample=1abc&bl=i23
URL
Beamline Operations
ActiveMQ message broker
«implements»
Workflow and
Persistence Layer
JMS/ActiveMQ endpoint
Java interfaces
URL
«implements»
Beamline or emulator
JMS/ActiveMQ endpoint
UI
RFC 6167 style URI:
jms:jndi:dynamicQueues/GDA.QUEUE?replyToName=dynamicQueues/WF.QUEUE&jndiURL=tcp://host:61616
URL = scheme:hierarchical-part[?query]

---
Framework for transferable workflows
Start
Read files
Simulate images
Beamline
service
direct:/path/to/config?sample=1abc&bl=i23
URL
Beamline Operations
ActiveMQ message broker
«implements»
Workflow and
Persistence Layer
JMS/ActiveMQ endpoint
Java interfaces
URL
«implements»
Beamline or emulator
JMS/ActiveMQ endpoint
UI
RFC 6167 style URI:
jms:jndi:dynamicQueues/GDA.QUEUE?replyToName=dynamicQueues/WF.QUEUE&jndiURL=tcp://host:61616
XML-RPC client
XML-RPC server
xmlrpc://host:port/
???
URL = scheme:hierarchical-part[?query]

---
Initial target was DLS-I23 beamline...
- Multiple orientations
  - Required by detector geometry
- Moving shadows
  - Cannot be realistically avoided
- Interleaving
  - Especially important for longer wavelengths
- Collisions

---
...but as of Sept. 2015 is DLS-I04
- Delays in delivery/commissioning of some of the bespoke I23 instrumentation
- I04 is a tunable, variable/micro focus beamline that is much less exotic than I23:
  - wavelength range: 0.71Å – 2.07Å
  - Mini-kappa goniostat
  - Pilatus 6M detector
- Adaptation to non-I23 beamlines has to be brought forward
- Facilitates deployment to other beamlines

---
Adaptation to non-I23 beamlines
- Full specification of beamline configuration
  - Goniostat/detector geometry
  - Shadowing/collidable volumes
- Impact on strategy calculation
  - Fewer orientations are accessible to the mini-Kappa (with α = 24°) than to the ATC I23 Kappa (α = 50°)
  - stratcal must be made “smarter” about exploiting the orientations that are accessible
- We are starting work in this area now

---
Beamline characterisation (1)
- Multi-orientation strategy calculation requires accurate beamline geometry data
- Externally-generated data collections may contain novel (to the beamline) operation sequences
- Calibration is very important
  - goniostat centring (translation) axes
  - goniostat rotation axes
  - goniostat home position
  - detector geometry

---
Beamline characterisation (2)
- Current beamline calibration procedures support current usage
  - They may not be sufficient to support new protocols
- The scope of this project has widened to include calibration. GPhL is:
  - writing new applications to process calibration measurements
  - developing calibration workflows
    - collect, process and exploit calibration measurements
    - Intended to be transferable (like experimental workflows)

---
Beamline characterisation (3)
- Goniostat translation axes
  - Optical centring of an object (e.g. a pin) at various settings of the rotation axes
- Goniostat rotation axes and detector geometry
  - Calibrated by diffraction from well-diffracting samples with known characteristics

---
First beamline testing imminent
- GPhL will visit DLS-I04 next week
  - 8-9 December
- We intend to test workflow prototypes live on I04:
  - a translational calibration workflow
  - an MX experimental workflow, backed by stratcal

---
Future tasks (1)
- Implement MXCuBE beamline service
  - XML-RPC to interact with the queue, and ??? for v3 UI
- Extend Abstract Beamline Interface
  - Handle beamline configuration data
- Use Passerelle as workflow engine
  - Non-trivial workflows
  - Better error handling
  - Parallel execution
- Building/packaging/distributon
  - Remove dependency on Eclipse

---
Future tasks (2)
- Improve MAD/multi-orientation interleaving
  - Use knowledge that is being gained at SLS
  - Reduce impact of radiation damage
- Integrate data processing
- Integrate prediction visualisation
- Towards support of non-I23 beamlines
  - Single axis goniostats ✔
  - Cryostream, normal beamstops, other shadowing/collidable elements
- Workflows with more user intervention
  - e.g. cater for user changing their mind about the indexing solution

---
Future tasks (3)
- Integrate prediction visualisation
  - gpx2 image visualiser included in autoPROC
  - Experimental workflow prototype generates predictions for characterisation data collection
  - extend to main data collection(s)
  - visualise in beamline GUI?
- Archive persistence layer content
  - ISPyB?

---
People
- GΦL
  - Gérard Bricogne, Claus Flensburg, Wlodek Paciorek, Clemens Vonrhein
- DLS
  - Jonathan Blakes, Vinay Grama, Keith Henderson, Armin Wagner, Graeme Winter, Ralf Flaig, Dave Hall
- SLS
  - Aaron Finke, Vincent Olieric, Ezequiel Panepucci, Sandro Waltersperger, Meitian Wang